**NBS Specification**

J31 – Liquid applied waterproof roof coating

355 – Perimeter Trims

**Manufacturer:** Whitesales Europa House Alford Road Cranleigh GU6 8NQ

Tel 01483 271371 Fax 01483 271771 E-mail [sales@whitesales.co.uk](mailto:sales@whitesales.co.uk)

**Product Reference:** Em-Trim F1

**Type**: Roof Edge Trim

**Size**: 40 x 35mm

**Material:** GRP

**Colour:** Black, Grey, White, RAL *(specify colour)*

**Other requirements:** None

**Fixing:** Please consult Whitesales for recommendations